## Slide 1
SC No.2

## Slide 2
Site Controller
Loading software

## Slide 3
Site Controller
Installation of software
After downloading the Tera Term and the other software programs save the files in a folder called ‘Installed Programs’ in a location you can easily get to from your desktop or on your desk top itself.
This ‘Installed programs’ folder will need to be created by the user.
We recommend saving all the downloaded programs to this folder.

## Slide 4
Installation of Tera Term
Tera Term is a program that allows you create and edit files in a ‘Dos’ type environment but using Linux commands
Double click on the downloaded file and follow the instruction on how to install the software.
Click ‘Next’
Site Controller

## Slide 5
Installation of Tera Term
Accept the agreement and click ‘Next’.
Click ‘Next’ unless you wish to change the target folder
Site Controller

## Slide 6
Installation of Tera Term
Site Controller
Click ‘Next’
Select a language and
press ’Next’

## Slide 7
Installation of Tera Term
Site Controller
Press ‘Next’ unless you wish to change anything
Click ‘Next’

## Slide 8
Installation of Tera Term
Site Controller
Click ‘Install’
If you wish Tera Term to launch after closing the window tick the check box.
Click ‘Finish’

## Slide 9
Installation of NotePad ++
Site Controller
Double click on the downloaded file and follow the instruction on how to install the software.
Click OK for English or scroll down until the language required is shown in the window.

## Slide 10
Installation of NotePad ++
Site Controller
Click ‘Next’

## Slide 11
Installation of NotePad ++
Site Controller
Click ‘I Agree’
Click ‘Next’

## Slide 12
Installation of NotePad ++
Site Controller
Click ‘Next’
Tick the ‘Create Shortcut on Desktop’ and press ‘Install’

## Slide 13
Installation of NotePad ++
Site Controller
A progress bar will show the status of the program.
Click ‘Finish’ and NotePad++ and the installation is complete and is ready to run.

## Slide 14
Installation of WinSCP
Site Controller
Double click on the downloaded file and follow the instructions on how to install the software.
Select the language you wish to use – for the example we have chosen English

## Slide 15
Installation of WinSCP
Site Controller
Press ‘Next’
and
click ‘Accept’

## Slide 16
Installation of WinSCP
Site Controller
Click ‘Next’ for Full Upgrade
Click ‘Install

## Slide 17
Installation of WinSCP
Site Controller
….and then click ‘Finish’.

## Slide 18
Site Controller driver
Site Controller
A driver may be required depending on which version of Windows you have running on your machine.
Load the driver and restart Windows
http://www.silabs.com/products/mcu/pages/usbtouartbridgevcpdrivers.aspx

## Slide 19
Questions?
Notes: Note –

## Slide 20
Return